| C:L | P, T | Variable Name | Meaning (units) | Notes |
| --- | --- | --- | --- | --- |
| 12:1 | 1-80, A | WHAT | “PARAMagnetic cross section parameters follow” | See Section III.E.4. This card set could be put into the INPut file rather than PARameter file if no values are to be varied. |
| 12:2 | 1-5, A | WHAT | “TM ”, “ER ”, “HO ” (2 letters plus 3 blanks) | Which particular nuclide is to be used |
|  | 7, I | IFA | Flag to vary A | 1 to vary, 3 to PUP, 0 otherwise |
|  | 9, I | IFB | Flag to vary B | 1 to vary, 3 to PUP, 0 otherwise |
|  | 10, I | IFP | Flag to vary P | 1 to vary, 3 to PUP, 0 otherwise |
|  | 11-20, F | A | A of Eq. (VH.1) | See Section III.E.4 for default values. |
|  | 21-30, F | dA | Uncertainty on A |  |
|  | 31-40, F | B | B of Eq. (VH.1) |  |
|  | 41-50, F | dB | Uncertainty on B |  |
|  | 51-60, F | P | P of Eq. (VH.1) |  |
|  | 61-70, F | dP | Uncertainty on P |  |
| 12:3 | 7, I | ISO | Isoptope (nuclide) number for this paramagnetic cross section |  |
|  | 9, I | IFC | Flag to vary C | 1 to vary, 3 to PUP, 0 otherwise |
|  | 11-20, F | C | C of Eq. (VH.1) |  |
|  | 21-30, F | dC | Uncertainty on C |  |
| 12:4 | (blank) |  |  |  |