| C:L | P,T | Variable name | Meaning (units) |  | Notes |
| --- | --- | --- | --- | --- | --- |
| 2:1, cont. | 53-55, I | NXTRA | Number of extra points to be added between each pair of data points for auxiliary energy grid Default = 0 |  | The minimum number of points in the auxiliary grid is (NXTRA+1) × NDAT, where NDAT is the number of points in the data grid. |
|  | 56-57, I | IPTDOP | Number of points to be added to auxiliary energy grid across small resonances |  | See Section III.A.2. Default = 9; range is 1 ≤ IPTDOP ≤ 21 |
|  | 59-60, I | IPTWID | Determines the number of points to be added to auxiliary grid in tails of small resonances |  | Default = 5 |
|  | 61-70, I | IXXCHN | - Number of energy channels in ODF-type data file to be ignored - When MATNUM (below) is not zero, then IXXCHN = ZA for use in an output ENDF file |  | - When reading experimental data from an ODF file (as discussed in Section VI.C.1), usually the first data point is in channel 1. To start at a later channel, set IXXCHN equal to the number of channels to be skipped. - This option is almost never used. See Section IX for more appropriate input for creating ENDF files. |
|  | 71-72, I | NDIGIT | Number of digits for compact format for covariance matrix |  | See Section VII.E for details. Value: 1 to 6 Default = 2 |
| 2:1, cont. | 73-74, I | IDROPP | The input resonance-parameter covariance matrix will be modified before being used in the fitting procedure. Correlations smaller than this % will be set to zero. |  | Value: 1 to 99; default = 2 This variable is ignored unless the phrase “DROP SMALL VALUES OF correlation matrix” occurs in the command section of the INPut file (card set 3). |
|  | 75-80, I | MATNUM | ENDF Material Number |  | This value is almost never used. See Section IX for more appropriate input for creating ENDF files. |
| 3:? | 1-20, A | WHAT | Alphanumeric information concerning program options. |  | See Table VI A1.2 for a listing of valid commands. |
| 3:Last |  | (blank) |  |  |  |