III.C.1.a.   Resolution broadening: Gaussian

1.  Square distribution in flight-path length

Broadening in L is due to the “spread” or “distribution of locations” at which the flight path begins or ends (for details, see ref. [DL84]).  This distribution may include contributions from both the source and the detector, and may be described by a square function in length L; that is,

Note that ΔL is equal to  times the standard deviation of an “equivalent” Gaussian distribution in length.  Note also that the input quantity  may be expressed either as a constant (see variable DELTAL in card set 5 of the INPut file, Table VI A.1, or card set 4 of the PARameter file, Table VIB.2), or as an energy-dependent function of the form

(See card set 11, line number 2, of the PARameter file, Table VIB.2).

For convenience in later calculations, this square function in length will be converted to a Gaussian function in energy; that is,

whereandare found by equating means and variances of the two expressions in Eqs.  and .

The mean energy for the distribution described in Eq.  is given by

Similarly, the second moment of that distribution is given to first order in  by

so that the variance of the square distribution is given by

Since the mean of the Gaussian distribution in Eq.  is  and the variance is , the parameters of the Gaussian are given (to lowest order) by

and

2.  Square distribution in time

Finite channel width is one contributor to broadening in time (for details, see [DL84]).  The channel width is represented by a square function in time with width  as

Generally the channel width is constant for a certain energy range, but changes from one range to the next.  SAMMY input accommodates this characteristic: values for  are given as a constant DELTAB times a “crunch factor” CFi  for energies between Bci-1 and Bci.   Details are given in Table VI A.1, card set 6.

This component of the resolution function also will be converted to an equivalent Gaussian function in the energy variable.  Arguments similar to those given above for Eqs.  through  show that this Gaussian has the form

where

3.  Gaussian distribution in time

Neutron burst width is another contributor to the resolution broadening.  This effect may be approximated by a Gaussian (or convolution of Gaussian plus exponential; see Sections III.C.1.b and III C1.c) with full width at half max ΔtG.  (See variable DELTAG in Table VIA.1, card set 5, or Table VIB.2, card set 4.)  That is, the Gaussian distribution function in time is given by

which translates into

in which the quantities wG and WG are defined in terms of the full width at half max via

and

[The derivation of Eq.  requires the approximation that  to zeroth order.]

4.  Gaussian distribution in energy

For some applications the resolution is best described by a Gaussian function of energy rather than time or length.   For example, neutrons produced by (p,Li7) or (p,t) using protons from Van de Graaff accelerators have relatively small energy spreads determined by beam energy spread, target thickness, etc.   The Gaussian widths of such neutron distributions are often approximately constant in energy.  The distribution has the form

in which the width is given by

Parameters  and  are input as DELTC1 and DELTC2 in Table VIB.2, card set 4.

5.  Convolution of the pieces

The resolution-broadened cross section (or other function) is expressed as the convolution of the resolution function(s) with the unbroadened cross section, as

in which we have combined Eqs. , , , and .  This formula can be written in the form

in which the combined resolution function is found from

It is well-known that the convolution of two or more Gaussians is also a Gaussian, with the variance given by the sum of the variances of the components.  This could also be demonstrated by direct integration of Eq. .

[In our situation, this is strictly true only if the width  of the second Gaussian is independent of the variable of integration  of the first Gaussian.  Nevertheless, we may approximate  and  in our expression for , Eq. , by E and L since the integrand of Eq.  is large only near  (i.e., ).]

The variance for the combined resolution function of Eq.  may therefore be written as

Replacing t in Eq.  by its equivalent in terms of E and L and rearranging give

which may be rewritten in the form

with

If E is in units of eV,   in μsec, andin meters, then neutron mass m may be expressed as

This follows directly from  and .  With this value for the mass, the parameters in Eq.  become

It should be noted that more accurate values than these are used in the SAMMY code, as discussed in Section IX.A.

Partial derivatives

From Eqs.  and , the partial derivative of cross section (or transmission)  with respect to the component widths may be found using the chain rule as

Partial derivatives of  are, using Eq.  through ,

and

The partial derivative with respect to is found numerically via

where d is set equal to  with .