| C:L | P, T | Variable Name | Meaning (units) | Notes |
| --- | --- | --- | --- | --- |
| 15:1 | 1-80, A | WHAT | “DETECtor efficiencies” | See Section III.E.5. This card set could be put into the INPut file rather than PARameter file if no values are to be varied. |
| 15:2 | 1-10, F | PARDET (1) | Detector efficiency appropriate for these spin groups |  |
|  | 11-20, F | DELDET (1) | Uncertainty on this detector efficiency |  |
|  | 21-22, I or 21-25, I | IFLDET (1) | Flag whether to vary this detector efficiency | If more than 29 spin groups are needed, insert “−1” in Columns 79-80 and continue on the next line with five columns for each entry. When there are more than 99 spin groups altogether, use 5 columns for each integer entry in this line . |
|  | 23-24, I or 26-30, I | IGRDET (1,1) | Number of the first spin group belonging to this isotope |  |
|  | 25-26, I or 31-35, I | IGRDET (2,1) | Number of second spin group belonging to this isotope |  |
|  | etc. |  |  |  |
| 15:3 | 1-5, I | IGRDET (29,1) | Number of next spin group belonging to this isotope | This line is present only if the final entry on line 3 is “−1” |
|  | 2-10, I | IGRDET (30,1) |  |  |
|  | Etc. |  |  |  |
| 15:4 | Repeat line 2 (and 3 if needed) for second (third, etc.) detector efficiency. Any spin groups which are not included in this listing will be assigned the final efficiency given in the list. |  |  |  |
| 15:Last (blank) |  |  |  |  |