III.E.  OTHER EXPERIMENTAL CORRECTIONS

This section contains information about a variety of other corrections for experimental conditions not covered in earlier portions of Section III.  Included here are the following:

- Modifications needed for analyzing transmission measurements are covered in Section III.E.1.

- The means by which one may analyze samples containing multiple nuclides (multiple isotopes, chemical compounds, contaminants) is discussed in Section III.E.2.

- Two methods of including data-reduction parameters (such as normalizations or backgrounds) within the SAMMY analysis are described in Section III.E.3.

- Paramagnetic cross sections are discussed in Section III.E.4

- A treatment of l-dependent detector efficiencies is outlined in Section III.E.5.

- Self-indication measurements are discussed in Section III.E.6.

- Attenuation and angle-averaging for angular-distribution data are described in Section III.E.7.