III.C.1.b.  Resolution broadening: exponential

An exponential form for the resolution broadening is also provided in SAMMY (and MULTI).  Physically this may correspond to an asymmetry in the burst width or moderator or detector resolution function.  When only the exponential function is to be used, the broadened cross section (or transmission) is given by the integral

where  represents the unbroadened cross section.  This expression may be rewritten in terms of  rather than  using the relationship in Eq. (III C1.1), and assuming  as needed.   Eq.  becomes

in which the width is given by

Setting m/2 = (72.3)2 as in the previous section gives the result used in SAMMY,

in which c is defined as

exact values used for the constants are discussed in Section IX.A.

The width  is the “exponential folding width in microseconds” and is the required input quantity DELTAE (see Table VI A.1, card set 5, or Table VI B.2, card set 4).  Two options are available for energy-dependent width:  The first assumes the form

In this case the input quantity is andis fixed at 100 eV.  The line “EXPONENTIAL FOLDING width is energy dependent” must be included in the INPut file; see Table VI A1.2.  The second option assumes energy dependence of the form

parameters Di are specified in card set 11, line 10, of the PARameter file.

Partial derivatives

The partial derivative of   with respect tois given by

where the first partial derivative is found from Eq. (IIIC1b.3) to be

The second partial derivative in Eq.  is evaluated numerically via

where d is set to with q = 0.02.