November 28, 2007

See Frank Gunsing’s e-mail (repeated below)

Also Ron Dagan’s paper from CSEWG and/or from ND2007

Dear Nancy,

How are you doing? Today I spoke with Ron Dagan at the JEFF meeting about the problems we had with a saturated resonance at 69 eV in Th232. I was planning since a long time to speak to you about this issue but let me now just give you a short description of the problem.

In the Th232 capture experiment we were not able to fit the 69 eV saturated resonance and determine the normalization from it. Then I checked a SAMMY calculation with a MCNPX simulation of the capture yield of this resonance. SAMMY and MCNPX agreed perfectly with each other but not with the experiment. Then my colleague Eric Berthoumieux did a simulation with GEANT, and included the atomic motion (free gas) at every neutron-nucleus interaction. With this we got a much better agreement with experiment. Ron calculated S(a,b) tables which improved the calculated shape with MCNPX.

Finally I tried REFIT (version 1997) which agreed with the experiment when using the full multiple scattering option.

The problem is apparently that in multiple scattering the Doppler broadening on scattering is neglected both in SAMMY and in MCNPX. This gives a wrong result only in special cases. At the other saturated resonance at 23 eV all codes seem to be consistent.

I attach a few plots so you can see the effect. All calculations are based on the same resonance parameters from ENDF/B-VII and do not contain any resolution broadening.

Regards,

Frank.

==================================================================

Frank Gunsing

------------------------------------------------------------------

CEA Saclay                       e-mail:      gunsing@cea.fr

DSM / DAPNIA / SPHN              phone:     + 33 1 69 08 75 23

bat. 703 / Orme-des-Merisiers    fax:       + 33 1 69 08 75 84

F - 91191 Gif-sur-Yvette

France

==================================================================