V.C.1.  Energy- or Time-Weighted Averages for Experimental Data

SAMMY’s energy-averaged or time-averaged cross section is an average over a specific energy range or time-of-flight range, with no additional weighting.  The implementation of this option assumes that the unaveraged cross section has already been “binned,” as would occur during the data-collection process.  Hence, this option cannot be used for accurate calculation of averaged theoretical cross sections.

The energy-averaged cross section is of the form

with the normalization N given by

Similarly, the time-averaged cross section has the form

with the normalization N given by

In practice the integrals in Eqs.  through  are replaced by sums over discrete intervals of the form

N is given by the same formula with the  term omitted inside the summation.

For energy averaging, the  are given by

this is equivalent to assuming that the channel endpoints are exactly halfway between the energies specified as channel energy.

For time-average cross sections, the  are given by the difference between the time at the end of a channel and the time at the beginning.  This assumes that the specified experimental energies are stated at the center of the channel, that is, that the time associated with channel i is

and is given by

In both cases described above, corrections are made to ensure that the range included in the summation does not extend beyond the minimum and maximum energies, which are not likely to be channel boundaries.  Note that neither of these approximations is exactly correct when compared to the experimental situation, since the endpoints of the time-of-flight channels are estimated based on center-time information.  A more correct procedure would be to use the exact information from the experimental time-of-flight channels; unfortunately such information is not available to the analysis.

To determine the uncertainties associated with , we consider a small increment in , which can be written as

where  are the u-parameters (see Section IV.C).  Squaring this quantity and taking expectation values give the variance on  as

Note that the quantity is just the parameter covariance matrix   , which is known from the earlier analysis.  The partial derivatives in Eq.  are readily evaluated within SAMMY, and the  are known.  Thus, the uncertainty on the average cross section  may be found directly from this equation.

The input needed to use this option is described in Section VI.F.1.  Examples are given in test cases tr014 and tr075.