| C:L | P, T | Variable Name | Meaning (units) | Notes |
| --- | --- | --- | --- | --- |
| 6:1 | 1-80, A | WHAT | “NORMAlization and background are next” | See Section III.E.3.a. This card set could be put into the INPut file rather than PARameter file if no values are to be varied. |
| 6:2 | 1-10, F | ANORM | a = normalization (dimensionless) | Value ~ 1 |
|  | 11-20, F | BACKA | Ba = constant background (dimensionless if data are transmission, barns if c.s.) |  |
|  | 21-30, F | BACKB | Bb = background proportional to or linear in time (or ) |  |
|  | 31-40, F | BACKC | Bc = background proportional to or linear in inverse time ( or ) |  |
|  | 41-50, F | BACKD | Bd = coefficient for exponential background (dimensionless or barns) |  |
|  | 51-60, F | BACKF | Bf = exponential decay constant () |  |
|  | 61-62, I | Ianorm | Flag for these parameters: -1, 0, 1, or 3 -1 → do not vary or PUP this parameter. Use the value given here in the PAR file rather than the value given in the COVariance file if it exists. (Note that only those parameters that were not varied in earlier runs can be changed in this manner). 0 → do not vary or PUP this parameter. Use the value given in the COVariance file if it exists; otherwise, use the value given here. 1 → do vary this parameter. For the starting value, use the value given in the COVariance file if it exists. 3 → PUP this parameter, using this value. |  |
|  | 63-64, I | Ibacka |  |  |
|  | 65-66, I | Ibackb |  |  |
|  | 67-68, I | Ibackc |  |  |
|  | 69-70, I | Ibackd |  |  |
|  | 71-72, I | Ibackf |  |  |
| 6:3 | 1-10, F | Danorm | uncertainty on ANORM | This line is optional for angle-integrated data but not for angular distributions. When the line is omitted, the uncertainty is assumed to be FUDGE value of parameter. |
|  | 11-20, F | Dbacka | uncertainty on BACKA |  |
|  | 21-30, F | Dbackb | uncertainty on BACKB |  |
|  | 31-40, F | Dbackc | uncertainty on BACKC |  |
|  | 41-50, F | Dbackd | uncertainty on BACKD |  |
|  | 51-60, F | Dbackf | uncertainty on BACKF |  |
| 6:4, 6:5, etc. | When the data are angular distributions, line 2 contains normalization and backgrounds for the first angle and line 3 the corresponding uncertainties. Line 4 contains values for the second angle, etc. |  |  |  |
| 6:Last (blank) |  |  |  |  |