III.E.1.a.   Transmission through a non-uniform sample

Occasionally the sample is known to be non-uniform in thickness, generally thicker in the center and thinner on the edges.  To model this situation, we assume that the sample is a circular disk of average thickness n (atoms/barn) or (cm), with .  Actual thickness is specified by the user in piece-wise fashion as a function of distance R from the center, as

where the units on the  and  are unimportant since SAMMY will rescale these.  At arbitrary values of R, the thickness is given by linear interpolation between the specified points,

where

Under these assumptions, the measured transmission may be modeled as the average over the area of the sample, as

When is small, the result in Eq.  must be modified to avoid singularities.  Rewriting this equation slightly gives a convenient form for small ,

For small arguments, an exponential can be written in the form

Using this form for the second exponential puts Eq.  into the form

As one test to see whether this form is correct, consider the case for which allare exactly equal.  For this situation,  and , and the transmission becomes

This is identical to the uniform-sample case.  QED.

Input for this option is accomplished in the same manner as for the multiple-scattering correction in the case of non-uniform sample (not yet implemented in the code).  The user provides values for  and of Eq. .  It is not necessary for the  to be normalized so that the average is , only that the ratios be correct; SAMMY will take care of normalization.  Details for input of the non-uniform thickness are given in card set 11 of the PARameter file.

The derivative of the transmission with respect to the total cross section  is also needed.  From Eq. , it is clear that this derivative is

The small-b expansion for this expression is

which becomes

In the limit as all the become zero, this is

Again, this is identical to the uniform-sample case.  QED.

Test case tr178 has examples of this feature.